## ENTITIES
SPACE
Code | Description
MATERIALS | Folder for materials.
METHODS | Folder for methods.
SHIVA | Shiva
BRAVA | Brava
MEERA | Meera
PERMIE | Permie
QUICKPRESS | Quickpress
ISCO500D | High pressure syringe pump (ISCO500D)
RICHTER | Richter system connected to Richter-PC
HANDYSCOPE | Handiscope interrogator connected to Richter-PC
SENTEA | Sentea FBG interrogator connected to Richter-PC
SPYDER | Spyder strain gauge interrogator connected to Richter-PC
SCANNER | Scanner
GSD301O | Gas mass spectrometer (GSD301O)
RADONOMETER | Radonometer (INGV)
PPEM | PPEM module for measuring attenuation
ULTRAPYC5000 | Ultrapyc 5000 Helium Pycnometer
IMM | Dummy for register_linkdata
CAMERA | All cameras
PROJECT
Identifier | Code | Description | Space
/MATERIALS/MATERIALS | MATERIALS | Materials | MATERIALS
/MATERIALS/APPARATUSES | APPARATUSES | Apparatuses | MATERIALS
/MATERIALS/PEOPLE | PEOPLE | People | MATERIALS
/MATERIALS/SPECIMENS | SPECIMENS | Specimens | MATERIALS
/METHODS/METHODS | METHODS | Methods | METHODS
/SHIVA/SHIVA_LEGACY | SHIVA_LEGACY | SHIVA legacy project | SHIVA
/BRAVA/BRAVA_LEGACY | BRAVA_LEGACY | BRAVA legacy project | BRAVA
/MEERA/MEERA_LEGACY | MEERA_LEGACY | MEERA legacy project | MEERA
/PERMIE/PERMIE_LEGACY | PERMIE_LEGACY | PERMIE legacy project | PERMIE
/QUICKPRESS/QUICKPRESS_LEGACY | QUICKPRESS_LEGACY | QUICKPRESS legacy project | QUICKPRESS
/RICHTER/BRAVA | BRAVA |  | RICHTER
/RICHTER/MEERA | MEERA |  | RICHTER
/RICHTER/SHIVA | SHIVA |  | RICHTER
/SENTEA/BRAVA | BRAVA |  | SENTEA
/SENTEA/MEERA | MEERA |  | SENTEA
/SENTEA/SHIVA | SHIVA |  | SENTEA
/SPYDER/BRAVA | BRAVA |  | SPYDER
/SPYDER/MEERA | MEERA |  | SPYDER
/SPYDER/SHIVA | SHIVA |  | SPYDER
/CAMERA/BRAVA | BRAVA |  | CAMERA
/CAMERA/MEERA | MEERA |  | CAMERA
/CAMERA/SHIVA | SHIVA |  | CAMERA
/SCANNER/BRAVA | BRAVA |  | SCANNER
/SCANNER/MEERA | MEERA |  | SCANNER
/SCANNER/SHIVA | SHIVA |  | SCANNER
/ULTRAPYC5000/ULTRAPYC5000_ACTUAL | ULTRAPYC5000_ACTUAL | Ongoing generic Ultrapyc 5000 project | ULTRAPYC5000
/ISCO500D/SHIVA | SHIVA |  | ISCO500D
/GSD301O/SHIVA | SHIVA |  | GSD301O
/PPEM/SHIVA | SHIVA |  | PPEM
/RADONOMETER/SHIVA | SHIVA |  | RADONOMETER
EXPERIMENT
Experiment type
COLLECTION
Identifier | Code | Project | Name | Default object type
/MATERIALS/MATERIALS/CORES | CORES | /MATERIALS/MATERIALS | Cores collection | CORE
/MATERIALS/MATERIALS/FLUIDS | FLUIDS | /MATERIALS/MATERIALS | Fluids collection | FLUID
/MATERIALS/MATERIALS/ROCKS | ROCKS | /MATERIALS/MATERIALS | Rocks collection | ROCK
/MATERIALS/MATERIALS/ARTIFICIALS | ARTIFICIALS | /MATERIALS/MATERIALS | Artificials collection | ARTIFICIAL
/MATERIALS/MATERIALS/GOUGES | GOUGES | /MATERIALS/MATERIALS | Gouges collection | GOUGE
/MATERIALS/MATERIALS/GOUGE_PROPORTIONS | GOUGE_PROPORTIONS | /MATERIALS/MATERIALS | Gouge proportions collection | GOUGE_PROPORTION
/MATERIALS/MATERIALS/GOUGE_MIXTURES | GOUGE_MIXTURES | /MATERIALS/MATERIALS | Gouge mixtures collection | GOUGE_MIXTURE
/MATERIALS/MATERIALS/POWDERS | POWDERS | /MATERIALS/MATERIALS | Powders collection | POWDER
/MATERIALS/MATERIALS/POWDER_PROPORTIONS | POWDER_PROPORTIONS | /MATERIALS/MATERIALS | Powder proportions collection | POWDER_PROPORTION
/MATERIALS/MATERIALS/POWDER_MIXTURES | POWDER_MIXTURES | /MATERIALS/MATERIALS | Powder mixtures collection | POWDER_MIXTURE
/MATERIALS/MATERIALS/SEDIMENTS | SEDIMENTS | /MATERIALS/MATERIALS | Sediments collection | SEDIMENT
/MATERIALS/APPARATUSES/APPARATUSES | APPARATUSES | /MATERIALS/APPARATUSES | Apparatuses collection | APPARATUS
/MATERIALS/APPARATUSES/ACTUATORS | ACTUATORS | /MATERIALS/APPARATUSES | Actuators collection | ACTUATOR
/MATERIALS/APPARATUSES/ASSEMBLIES | ASSEMBLIES | /MATERIALS/APPARATUSES | Assemblies collection | ASSEMBLY
/MATERIALS/APPARATUSES/COMPONENTS | COMPONENTS | /MATERIALS/APPARATUSES | Components collection | COMPONENT
/MATERIALS/APPARATUSES/EQUIPMENT | EQUIPMENT | /MATERIALS/APPARATUSES | Equipment collection | EQUIPMENT
/MATERIALS/APPARATUSES/SENSORS | SENSORS | /MATERIALS/APPARATUSES | Sensors collection | SENSOR
/MATERIALS/PEOPLE/PEOPLE | PEOPLE | /MATERIALS/PEOPLE | People collection | PERSON
/MATERIALS/SPECIMENS/SOLID_SAMPLE_HOLLOWCYLINDERS | SOLID_SAMPLE_HOLLOWCYLINDERS | /MATERIALS/SPECIMENS | Solid sample hollow cylinders collection | SOLID_SAMPLE_HOLLOWCYLINDER
/MATERIALS/SPECIMENS/SOLID_SAMPLE_CYLINDERS | SOLID_SAMPLE_CYLINDERS | /MATERIALS/SPECIMENS | Solid sample cylinders collection | SOLID_SAMPLE_CYLINDER
/MATERIALS/SPECIMENS/SOLID_SAMPLE_BLOCKS | SOLID_SAMPLE_BLOCKS | /MATERIALS/SPECIMENS | Solid sample blocks collection | SOLID_SAMPLE_BLOCK
/MATERIALS/SPECIMENS/POWDERED_SAMPLES | POWDERED_SAMPLES | /MATERIALS/SPECIMENS | Powdered samples collection | POWDERED_SAMPLE
/MATERIALS/SPECIMENS/POWDERED_SAMPLE_HOLLOWCYLINDERS | POWDERED_SAMPLE_HOLLOWCYLINDERS | /MATERIALS/SPECIMENS | Powdered sample hollow cylinders collection | POWDERED_SAMPLE_HOLLOWCYLINDER
/MATERIALS/SPECIMENS/POWDERED_SAMPLE_CYLINDERS | POWDERED_SAMPLE_CYLINDERS | /MATERIALS/SPECIMENS | Powdered sample cylinders collection | POWDERED_SAMPLE_CYLINDER
/MATERIALS/SPECIMENS/POWDERED_SAMPLE_BLOCKS | POWDERED_SAMPLE_BLOCKS | /MATERIALS/SPECIMENS | Powdered sample blocks collection | POWDERED_SAMPLE_BLOCK
/BRAVA/BRAVA_LEGACY/BRAVA_LEGACY_BLOCKS | BRAVA_LEGACY_BLOCKS | /BRAVA/BRAVA_LEGACY | Blocks (legacy) | SOLID_SAMPLE_BLOCK
/BRAVA/BRAVA_LEGACY/BRAVA_LEGACY_GOUGES | BRAVA_LEGACY_GOUGES | /BRAVA/BRAVA_LEGACY | Gouges (legacy) | POWDERED_SAMPLE
/BRAVA/BRAVA_LEGACY/BRAVA_LEGACY_GOUGE_BLOCKS | BRAVA_LEGACY_GOUGE_BLOCKS | /BRAVA/BRAVA_LEGACY | Gouge blocks (legacy) | POWDERED_SAMPLE_BLOCK
/MEERA/MEERA_LEGACY/MEERA_LEGACY_BLOCKS | MEERA_LEGACY_BLOCKS | /MEERA/MEERA_LEGACY | Blocks (legacy) | SOLID_SAMPLE_BLOCK
/SHIVA/SHIVA_LEGACY/SHIVA_LEGACY_CYLINDERS | SHIVA_LEGACY_CYLINDERS | /SHIVA/SHIVA_LEGACY | Cylinders (legacy) | SOLID_SAMPLE_CYLINDER
/SHIVA/SHIVA_LEGACY/SHIVA_LEGACY_HOLLOWCYLINDERS | SHIVA_LEGACY_HOLLOWCYLINDERS | /SHIVA/SHIVA_LEGACY | Hollow cylinders (legacy) | SOLID_SAMPLE_HOLLOWCYLINDER
/SHIVA/SHIVA_LEGACY/SHIVA_LEGACY_GOUGES | SHIVA_LEGACY_GOUGES | /SHIVA/SHIVA_LEGACY | Gouges (legacy) | POWDERED_SAMPLE
/SHIVA/SHIVA_LEGACY/SHIVA_LEGACY_GOUGE_CYLINDERS | SHIVA_LEGACY_GOUGE_CYLINDERS | /SHIVA/SHIVA_LEGACY | Gouge cylinders (legacy) | POWDERED_SAMPLE_CYLINDER
/SHIVA/SHIVA_LEGACY/SHIVA_LEGACY_GOUGE_HOLLOWCYLINDERS | SHIVA_LEGACY_GOUGE_HOLLOWCYLINDERS | /SHIVA/SHIVA_LEGACY | Gouge hollow cylinders (legacy) | POWDERED_SAMPLE_HOLLOWCYLINDER
/PERMIE/PERMIE_LEGACY/PERMIE_LEGACY_CYLINDERS | PERMIE_LEGACY_CYLINDERS | /PERMIE/PERMIE_LEGACY | Cylinders (legacy) | SOLID_SAMPLE_CYLINDER
/ULTRAPYC5000/ULTRAPYC5000_ACTUAL/ULTRAPYC5000_ACTUAL_CYLINDERS | ULTRAPYC5000_ACTUAL_CYLINDERS | /ULTRAPYC5000/ULTRAPYC5000_ACTUAL | Cylinders | SOLID_SAMPLE_CYLINDER
EXPERIMENT
Experiment type
DEFAULT_EXPERIMENT
Identifier | Code | Project | Name | Default object type | Show in project overview | Experiment completed | Grant | Start date | End date | Goals | Description | Results | References | Publication | Notes